Approved by the order of the Chairman of Azerbaijan Caspian Shipping Closed Joint Stock Company dated 1st of December 2016No. 216.



**AZERBAIJAN CASPIAN SHIPPING CLOSED JOINT STOCK COMPANY IS ANNOUNCING OPEN BIDDING FOR THE PROCUREMENT OF ON-SHORE POWER DISTRIBUTION BOARDS FOR THE BERTH AT PYRALLAHI AREA UNDER THE CASPIAN SEA OIL FLEET OF ASCO**

**B I D D I N G No. AM203/2022**

|  |  |
| --- | --- |
|  | **Submission documentation required for participation in the bidding:*** Application for participation in the bidding (template has been attached hereto);
* Bank evidence as a proof of participation fee;
* Bidding offer:
* Bank document confirming financial condition of the consignor within the last year (or within the period of operation if less than one year);
* Statement issued by the relevant tax authorities on the absence of expired commitments associated with taxes and other compulsory payments and failure of obligations set forth in the Tax Code of the Republic of Azerbaijan for the last one year (excluding the period of suspension).

At the initial stage, application for participation in the bidding ( signed and stamped ) and bank evidence proving payment of participation fee (excluding bidding offer) shall be submitted in English, Russian or in Azerbaijani to the official address of Azerbaijan Caspian Shipping CJSC (hereinafter referred to as "ASCO" or "Procuring Organization") through email address of contact person in charge by **17.00** (Baku time) on **December 08, 2022**. Whereas, other necessary documents shall be submitted as enclosed in the bidding offer envelope.   Description (list) of goods, works or services has been attached hereto.  |
|  | **The participation fee and Collection of General Terms and Conditions:*** Any participant (bidder), who desires to participate in the bidding, shall pay for participation fee stated below (the payment order shall necessarily state the name of the organization holding open bidding and the subject of the bidding) and shall submit the evidence as a proof of payment to ASCO not later than the date stipulated in section one. All participants (bidders), who have fulfilled these requirements, may obtain General Terms and Conditions relating to the procurement subject from contact person in charge by the date envisaged in section IV of this announcement at any time from 08.00 till 17.00 in any business day of the week.
* Participation fee amount (VAT exclusive): AZN 50
* The participation fee may be paid in AZN or equivalent amount thereof in USD or EURO.
* ***Account No. :***

|  |  |  |
| --- | --- | --- |
| AZN | USD | EURO  |
| Name: The International Bank of Azerbaijan ABB- Customer Service DepartmentCode: 805250TAX ID: 9900001881Correspondent account: AZ03NABZ01350100000000002944SWIFT: IBAZAZ2XBeneficiary: AZARB.XAZAR DANIZ GAMICILIYI QSCTAX ID: 1701579951Account No. (AZN): AZ36IBAZ38050019441115341120 | Intermediary Bank: Citibank N.Y, New YorkAcc.36083186, SWIFT: CITIUS33Beneficiary Bank: The International Bank of AzerbaijanIBA- Customer Service DepartmentSWIFT: IBAZAZ2X Nizami str., 67Beneficiary: AZARB.XAZAR DANIZ GAMICILIYI QSCTAX ID: 1701579951Account No.: AZ26IBAZ38150018401115341120 | Intermediary Bank: Commerzbank AG, Frankfurt am MainSWIFT: COBADEFFACC # 400 88 660 3001Beneficiary Bank: The International Bank of Azerbaijan,IBA-Premier Customer ServiceSWIFT: IBAZAZ2X Nizami str., 67Beneficiary: Azerbaijan Caspian Shipping CJSCTAX ID: 1701579951Account No.: AZ06IBAZ38150019781115341120 |

* **Except for circumstances where the bidding is cancelled by ASCO, participation fee shall in no case be refunded!**
 |
|  |  **Security for a bidding offer:** * The bank guarantee is required in the amount of at least 1 (one) % of the bidding offer price. A bank guarantee sample shall be specified in the General Terms and Conditions.
* Bank guarantees shall be submitted as enclosed in the bidding offer envelope along with the bidding offer. Otherwise, the Purchasing Organization shall reserve the right to reject such offer.
* The financial institution that issued the guarantee should be acknowledged in the Republic of Azerbaijan and / or international financial transactions. The purchasing organization shall reserve the right not to accept and reject any unreliable bank guarantee.
* Persons wishing to participate in the bidding and intending to submit another type of warranty (letter of credit, securities, transfer of funds to the special banking account set forth by the Procuring Organization in the bidding documents, deposit and other financial assets) shall request and obtain a consent from ASCO through the contact person reflected in the announcement on the acceptability of such type of warranty.
* Contract performance bond is required in the amount of 5 (five) % of the purchase price.
* For the current procurement operation, the Procuring Organization is expected to make payment only after the goods have been delivered to the warehouse, no advance payment has been intended.

**Contract Performance Term:*** It is provided that the goods to be delivered within 10 days due to emergence of urgent demand for the goods.
 |
|  | **Final deadline date and time for submission of the bidding offer:*** All participants, which have submitted their application for participation in the bidding and bank evidence as a proof of payment of participation fee by the date and time stipulated in section one, and shall submit their bidding offer (one original and two copies) enclosed in sealed envelope to ASCO by **17.00** Baku time on **December 15, 2022**.
* All bidding offer envelopes submitted after the above-mentioned date and time shall be returned unopened.
 |
|  | **Address of the procuring company:**The Azerbaijan Republic, Baku city, AZ1003 (postcode), 2 Mikayil Useynov street, Procurement Committee of ASCO. **Contact person in charge:**Emil HasanovSenior procurement specialist at the Procurement Department of ASCOTelephone No.: +99450 422 00 11E-mail: emil.hasanov@asco.az, tender@asco.az**Contact person on legal issues:**Landline No.: +994 12 4043700 (ext: 1262) Email address: tender@asco.az |
|  | **Date and time assigned for the opening of bidding offer envelopes:**Opening of the envelopes shall take place on **December 16, 2022** at **11.00** Baku time in the address set forth in section V of the announcement. Persons wishing to participate in the opening of the envelopes shall submit a document confirming their permission to participate (the relevant power of attorney from the participating legal entity or natural person) and the ID card at least half an hour before the commencement of the bidding. |
|  | **Information on the winner of the bidding :**Information on the winner of the bidding will be posted in the "Announcements" section of the ASCO official website.  |

(On the participant`s letter head)

APPLICATION FOR PARTICIPATION IN

THE OPEN BIDDING

\_\_\_\_\_\_\_\_\_\_\_ city “\_\_”\_\_\_\_\_\_\_20\_

\_\_\_\_\_\_\_\_\_\_\_№

To the attention of the Chairman of ASCO Procurement Committee

Mr Jabrail Mahmudlu

We, hereby confirm the intention of [ to state full name of the participant ] to participate in the open bidding No. [ bidding No. shall be inserted by participant ] announced by ASCO in respect of procurement of "\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_" .

Moreover, we confirm that no winding - up or bankruptcy proceeding is being performed or there is no circumstance of cessation of activities or any other circumstance that may impede participation of [ to state full name of the participant ] in the stated bidding.

In addition, we warrant that [ to state full name of the participant ] is not an affiliate of ASCO.

Below-mentioned contact details are available to respond to any question that may emerge in relation to the documents submitted and other issues:

* Contact person in charge:
* Position of the contact person:
* Telephone No.:
* E-mail:

Attachment:

1. Original of the bank evidence as a proof of payment of participation fee – \_\_ page(s).

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(initials of the authorized person) (signature of the authorized person)

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 (position of the authorized person)

 **STAMP HERE**

 **LIST OF THE GOODS:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **№** | **Nomination of the goods and materials**  |  | **Measurement unit** | **Quantity** |
| **Berth in the Pyrallahi area of CSOF 10056986** |
| 1. | On-shore power distribution board set (to be built up as per drawings to be presented) Dimensions:1600 x 800 x 1580 mm; Made of 2.5 mm thick metal; The power distribution board should be equipped with power board lock on the door at front side; The power distribution board shall be equipped with an indication lamp and a multimeter (400V, 500A, 50Hz); The lower legging part of the power distribution board shall be constructed of 65 x 65 mm metallic angle steel section; The board shall also be supplied with a 0,5 mm thick safety plate which will be installed on the hinge to the main frame. The housing of the power distribution board shall be cleaned, and painted with anti corrosion and glancing paint.  | Set includes:Automatic tripping circuit breaker -- 380 V, 250 A -- 2 pcs.Automatic tripping circuit breaker -- 380 V, 160 A -- 3 pcs.Automatic tripping circuit breaker -- 380 V, 63 A -- 1 pc.Automatic tripping circuit breaker -- 220 V, 16 A -- 2 pcs.Power switch (one polar) - 1 pcsLamp (equipped with one bulb) - 1 pc.Circuit breaker Ketenchi 380 V, 250 A - 5 pcs.Terminal panel 400 A - 5 pcs.Socket -- Bemish, 16 A --1 pc.Copper bus bar 45 x 5 mm (insulated)-- 7 metersCopper wire 1 x 70 mm2 -- 10 metersCopper wire 1x16 mm2 - 0.5 metersCable tip 70 mm2 -- 60 pcs | set  | 6 |

**NOTE: Payment terms are accepted on actual basis only. All offers not conforming to the stated payment condition üill be rejected.**

**Technical requirements for the procurement of on-shore power distribution board for the berth at Pyrallahi are of the Caspian Sea Oil Fleet under the auspices of Azerbaijan Caspian Shipping CJSC:**

* Documents reflecting the entity production area, technical capabilities, personnel and experience shall be submitted for the work to be performed.
* Participation in the bidding by involving subcontractors is not acceptable.
* Quality and conformity certificates shall be provided for all used materials.
* The power distribution boards shall be constructed as per the presented drawings. Moreover, operational warranty and service performance period shall necessarily be stated.
* Automated safety switches to be made by Schneider, ABB and Siemens.
* Delivery of on shore power distribution boards to the facilities of ASCO shall be performed by means of vehicles of the entity performing service.

Due diligence shall be performed in accordance with the Procurement Guidelines of ASCO prior to the conclusion of the purchase agreement with the winner of the bidding.

 The company shall enter through this link http: //asco.az/sirket/satinalmalar/podratcilarin-elektron-muraciet-formasi// to complete the special form or submit the following documents:

* Articles of Association of the company (all amendments and changes including)
* An extract from state registry of commercial legal entities (such extract to be issued not later than last 1 month)
* Information on the founder in case if the founder of the company is a legal entity
* Certificate of Tax Payer`s Identification Number
* Audited accounting balance sheet or tax declaration (depending on the taxation system) / reference issued by taxation bodies on non-existence of debts for tax
* Identification card of the legal representative
* Licenses necessary for provision of the relevant services / works (if any)

No agreement of purchase shall be concluded with the company which did not present the above-mentioned documents or failed to be assessed positively as a result of the due diligence performed and shall be excluded from the bidding!